## Sheet1
| name | completion
31 | Duomax BIFACIAL DUAL GLASS 60LAYOUT FRAMED MODULE 295 310 Watt 310W | Duomax BIFACIAL DUAL GLASS 60LAYOUT FRAMED MODULE 295 310 Watt 310W.This is a Monocrystalline solarpanel with a nominal wattage power of 310 watts.The panel has 60.0cells and measures 1685 x 1000 x 25mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 26.0kg and suitable for Residential applications.key features:High power output. Increased total power output through generation from front and back side. Backside power gain up to 25% depending on albedo. Unique J-box design and installation method to avoid shading on the back side. Low LCOE. Maximize limited space, savings in BOS and labour cost. Higher power generation from same installation footprint as standard modules. Wide application. Deployable for ground mounted utility, greenhouse and agricultural projects. Special application like sound barriers on expressways. Compatible with major tracker systems. Environmental conditions. Module coating resistant to sand, acid, and alkali. 30 year linear warranty,0.5% annual degradationNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Duomax BIFACIAL DUAL GLASS 60-LAYOUT FRAMED MODULE - 295 - 310 Watt (310W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-duomax-bifacial-dual-glass-60-layout-framed-module-295-310-watt-310w-")
32 | Tiger Neo Ntype 72HL49V 565585 Watt Mono Facial Module NType 580W | Tiger Neo Ntype 72HL49V 565585 Watt Mono Facial Module NType 580W.This is a N-type Monocrystalline solarpanel with a nominal wattage power of 580 watts.The panel has 144.0cells and measures 2278 x 1134 x 35mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 12.7kg and suitable for Commercial applications.key features:SMBB Technology. Better light trapping and current collection to improve module power output and reliability. Hot 2.0 Technology. The N-type module with Hot 2.0 technology has better reliability and lower LID/LETID. PID Resistance. Excellent Anti-PID performance guarantee via optimized mass-production process and materials control. Enhanced Mechanical Load. Certified to withstand: wind load (2400 Pascal) and snow load (5400 Pascal). Durability Against Extreme Environmental Conditions. High salt mist and ammonia resistance.Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tiger Neo N-type 72HL4-9V. 565-585 Watt. Mono Facial Module. N-Type. (580W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tiger-neo-n-type-72hl4-9v-565-585-watt-mono-facial-module-n-type-580w-")
33 | Mono 465W MBB HalfCell Module 440 465 Watt 460W | Mono 465W MBB HalfCell Module 440 465 Watt 460W.This is a Monocrystalline solarpanel with a nominal wattage power of 460 watts.The panel has 144.0cells and measures 2120 x 1052 x 40mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 25.0kg and suitable for Commercial applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 465W MBB Half-Cell Module - 440 - 465 Watt (460W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-465w-mbb-half-cell-module-440-465-watt-460w-")
34 | Mono 465W MBB HalfCell Module 440 465 Watt 445W | Mono 465W MBB HalfCell Module 440 465 Watt 445W.This is a Monocrystalline solarpanel with a nominal wattage power of 445 watts.The panel has 144.0cells and measures 2120 x 1052 x 40mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 25.0kg and suitable for Commercial applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 465W MBB Half-Cell Module - 440 - 465 Watt (445W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-465w-mbb-half-cell-module-440-465-watt-445w-")
35 | QPEAK DUO XLG10 SERIES 475 490 Watt 475W | QPEAK DUO XLG10 SERIES 475 490 Watt 475W.This is a Monocrystalline solarpanel with a nominal wattage power of 475 watts.The panel has 156.0cells and measures 2216 x 1045 x 35mm in cell dimensions.This is manufacture by Q Cells.The panel weighs 29.1kg and suitable for Commercial applications.key features:Bifacial energy yield gain of up to 20?% . Bifacial Q.ANTUM solar cells with zero gap cell layout make efficient use of light shining on the module rear-side for radically improved LCOE. . Low electricity generation costs . Q.ANTUM DUO Z combines cutting edge cell separation and innovative wiring with Q.ANTUM Technology for higher yield per surface area, lower BOS costs, higher power classes, and an efficiency rate of up to 21.2%. . A reliable investment . Double glass module design enables extended lifetime with 12-year product warranty and improved 30-year performance warranty1. . Enduring high performance . Long-term yield security with Anti LeTID Technology, Anti PID Technology2, Hot-Spot Protect. . Frame for versatile mounting options . High-tech aluminum alloy frame protects from damage, enables use of a wide range of mounting structures and is certified regarding IEC for high snow (5400?Pa) and wind loads (2400?Pa). . Innovative all-weather technology . Optimal yields, whatever the weather with excellent low-light and temperature behaviorNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Q.PEAK DUO XL-G10 SERIES - 475 - 490 Watt (475W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-q-peak-duo-xl-g10-series-475-490-watt-475w-")
36 | Vertex BACKSHEET MONOCRYSTALLINE MODULE 380 405 Watt 380W | Vertex BACKSHEET MONOCRYSTALLINE MODULE 380 405 Watt 380W.This is a Monocrystalline solarpanel with a nominal wattage power of 380 watts.The panel has 120.0cells and measures 1754 x 1096 x 30mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 21.0kg and suitable for Residential applications.key features:High value. More productivity from same roof size.. Outstanding visual appearance.. Leading 210mm cell technology.. Small in size, big on power. Small format module allow greater energy generation in limited space.. Up to 405W, 21.1% module eciency with high density interconnect technology. Multi-busbar technology for better light trapping eect, lower series resistance and improved current.. Reduce installation cost with higher power bin and eciency.. Boost performance in warm weather with lower temperature coecient (-0.34%) and operating temperature.. Universal solution for residential and C&I rooftops. Designed for compatibility with existing mainstream optimizers, inverters and mounting systems.. Perfect size and low weight makes handling and transportation easier and more cost-eective.. Diverse installation solutions for exibility in system deployment. High Reliability. 25 year product warranty.. 25 year performance warranty with lowest degradation.. Minimized micro-cracks with innovative non-destructive cutting technology.. Ensured PID resistance through cell process and module material control.. Mechanical performance up to +6000 Pa and-4000 Pa negative loadNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Vertex BACKSHEET MONOCRYSTALLINE MODULE - 380 - 405 Watt (380W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-vertex-backsheet-monocrystalline-module-380-405-watt-380w-")
37 | Mono 340W MBB HalfCell Module 320 340 Watt 325W | Mono 340W MBB HalfCell Module 320 340 Watt 325W.This is a Monocrystalline solarpanel with a nominal wattage power of 325 watts.The panel has 120.0cells and measures 1689 x 996 x 35mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 18.7kg and suitable for Residential applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 340W MBB Half-Cell Module - 320 - 340 Watt (325W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-340w-mbb-half-cell-module-320-340-watt-325w-")
38 | Mono 465W MBB Bifacial Monocrystalline PERC 440 465 Watt 455W | Mono 465W MBB Bifacial Monocrystalline PERC 440 465 Watt 455W.This is a Monocrystalline solarpanel with a nominal wattage power of 455 watts.The panel has 144.0cells and measures 2117 x 1052 x 35mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 27.3kg and suitable for Commercial applications.key features:Higher output power . More reliable, more stable power generation. Less shading effect . Lower temperature coefficientNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 465W MBB Bifacial Monocrystalline PERC - 440 - 465 Watt (455W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-465w-mbb-bifacial-monocrystalline-perc-440-465-watt-455w-")
39 | Jinko Tiger NeoJKM420N54HL4RB | Jinko Tiger NeoJKM420N54HL4RB.This is a N-type Monocrystalline solarpanel with a nominal wattage power of 420 watts.The panel has 108.0cells and measures 1762 x 1134 x 30mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 22.0kg and suitable for Commercial applications.key features:Jinko Tiger N-Type 420W Black Frame In 2022, Jinko developed and produced the first n-type tunnel oxide passivated contact (TOPCon) solar cells. These solar cells achieve higher efficiency than today's standard PERC technology. Beyond efficiency, n-type cells also promise improvements in long-term performance, bifaciality, and high-temperature performance that all add up to more energy, a lower levelized cost of electricity, and a faster return on investment. JinkoTiger N-Type 420W Specifications MORE POWER • SMBB Technology getter light trapping and current collection •TopCon Technology Innovation • Ultra-high power generation MORE RELIABLE • Hot 2.0 Technology for better reliability and lower LID/LETID • Durability against extreme environmental conditions • Certified to withstand: wind load (4000 Pascal) and snow load (6000 Pascal)To know more [Jinko Tiger Neo-JKM420N-54HL4R-B]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-jinko-solar-tiger-neo-420w")
40 | MULTIBUSBAR 120 HALFCELL BOB MODULE 310335 Watt 320W | MULTIBUSBAR 120 HALFCELL BOB MODULE 310335 Watt 320W.This is a Monocrystalline solarpanel with a nominal wattage power of 320 watts.The panel has 120.0cells and measures 1690 x 996 x 35mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 18.0kg and suitable for Residential applications.key features:High power output. Reduce BOS cost with high power bin and module efficiency. New cell string layout and split J-box location reduces the energy loss caused by inter-row shading. Lower resistance of half-cut cells and increased MBB (Multi Busbar) reflectance ensure higher power. High energy generation, low LCOE. Excellent 3rd party validated IAM and low light performance with cell process and module material optimization. Low Pmax temp coefficient (-0.36%) increases energy production. Better anti-shading performance and lower operating temperature. Outstanding visual appearance, easy to install. Designed for superior rooftop aesthetics. Thinner wires give a eye cacthing all black look. Safe and easy to transport, handle, and install. Certified to perform in highly challenging environments. High PID resistance through cell process and module material control. Resistant to salt, acid, sand, and ammonia. Over 30 in-house tests (UV, TC, HF etc). Certified to 5400 Pa positive load and 2400 Pa negative loadNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [MULTI-BUSBAR 120 HALF-CELL BOB MODULE 310-335 Watt (320W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-multi-busbar-120-half-cell-bob-module-310-335-watt-320w-")
41 | RSM408385MB405MB 385 405 Watt 390W | RSM408385MB405MB 385 405 Watt 390W.This is a Monocrystalline solarpanel with a nominal wattage power of 390 watts.The panel has 120.0cells and measures 1754 x 1096 x 30mm in cell dimensions.This is manufacture by Risen Energy.The panel weighs 21.0kg and suitable for Residential applications.key features:Global, Tier 1 bankable brand, with independently certified state-of-the-art automated manufacturing. Industry leading lowest thermal co-efficient of power. Industry leading 15 years product warranty. Excellent low irradiance performance. Excellent PID resistance. Positive power tolerance of 0~+3%. Dual stage 100% EL Inspection warranting defect-free product . Module Imp binning radically reduces string mismatch losses. Excellent wind load 2400Pa & snow load 5400Pa under certain installation method. Comprehensive product and system certification. IEC61215:2016; IEC61730-1/-2:2016. ISO 9001:2015 Quality Management System. ISO 14001:2015 Environmental Management System. ISO 45001:2018 Occupational Health and Safety. Management SystemNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [RSM40-8-385MB-405MB - 385 - 405 Watt (390W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-rsm40-8-385mb-405mb-385-405-watt-390w-")
42 | Eagle 72HM G5b 525545 Watt Half Cell Bifacial 545W | Eagle 72HM G5b 525545 Watt Half Cell Bifacial 545W.This is a Half-Cell solarpanel with a nominal wattage power of 545 watts.The panel has 144.0cells and measures 2274 x 1134 x 40mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 13.34kg and suitable for Commercial applications.key features:Multi Busbar Half Cell Technology. High efficiency half cut solar cells deliver high power in a small footprint. Bifacial Power Gain. Bifacial cell architecture allows backside bonus and more lifetime power yield. Light-Weight Design. Use of transparent backsheet allows for easy installation and lower BOS cost. Thick and Tough. Fire Type 1 rated module engineered with a thick frame, 3.2mm front side glass, and thick backsheet for added durability. Shade Tolerant. Twin array design allows continued performance even with shading by trees or debris. Protected Against All Environments. Certified to withstand humidity, heat, rain, marine environments, wind, hailstorms, and packed snow.Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Eagle 72HM G5b. 525-545 Watt. Half Cell Bifacial. (545W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-eagle-72hm-g5b-525-545-watt-half-cell-bifacial-545w-")
43 | Polycrystalline PV Module PENTA+ Classic 280 295 Watt 295W | Polycrystalline PV Module PENTA+ Classic 280 295 Watt 295W.This is a Polycrystalline solarpanel with a nominal wattage power of 295 watts.The panel has nancells and measures 1650 x 992 x 35mm in cell dimensions.This is manufacture by Astronergy.The panel weighs 18.4kg and suitable for Residential applications.key features:OUTPUT POSITIVE TOLERANCE. Guaranteed 0~+5W positive tolerance ensures power output reliability.. INNOVATIONAL 5-BUSBAR CELLS. Reduces the cell series resistance and internal stress, decreases the risk of mirco-crack and improves the module output. PID RESISTANCE. Excellent PID resistance at 96 hours (@85xC /85%) test, and also can be improved to meet higher standards for the particularly harsh environment.. EXCELLENT MECHANICAL LOAD CAPABILITY. Certified to withstand: snow load (6000 Pa) and wind load (3600 Pa).. THE-STATE-OF-THE-ART APPEARANCE. Full black designed for a better aesthetic appearance and building integration.. PASSED HAIL TEST. Certified to hail resistence: ice ball size (d=45mm) and ice ball velocity (v=30.7m/s).. LOWER TEMPERATURE COEFFICIENT. Improved temperature coefficient decreases power loss in the hightemperature applicationNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Polycrystalline PV Module - PENTA+ Classic - 280 - 295 Watt (295W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-polycrystalline-pv-module-penta-classic-280-295-watt-295w-")
44 | Tallmax FRAMED 144 HALFCELL MODULE 380 410 Watt 395W | Tallmax FRAMED 144 HALFCELL MODULE 380 410 Watt 395W.This is a Monocrystalline PERC solarpanel with a nominal wattage power of 395 watts.The panel has 144.0cells and measures 2015 x 996 x 35mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 22.0kg and suitable for Residential applications.key features:High power output. Reduce BOS cost with high power bin and 1500V system voltage. New cell string layout and split J-box location reduces the energy loss caused by inter-row shading. Lower resistance of half-cut cells ensures higher power. High energy generation, low LCOE. Excellent 3rd party validated IAM and low light performance with cell process and module material optimization. Integrated LRF(Light Redirecting Film) to enhance power. Low Pmax temp coefficient (-0.36%) increases energy production. Better anti-shading performance and lower operating temperature. Certified to perform in highly challenging environments. High PID resistance through cell process and module material control. Resistant to salt, acid, sand, and ammonia. Certified to 5400 Pa positive load and 2400 Pa negative load. Easy to install, wide application. Frame design enables compatibility with standard installation methods. Deployable for ground mounted and rooftop projects. Safe and easy to transport, handle, and installNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tallmax FRAMED 144 HALF-CELL MODULE - 380 - 410 Watt (395W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tallmax-framed-144-half-cell-module-380-410-watt-395w-")
45 | Mono 350W MBB Bifacial Monocrystalline PERC 330 350 Watt 330W | Mono 350W MBB Bifacial Monocrystalline PERC 330 350 Watt 330W.This is a Monocrystalline solarpanel with a nominal wattage power of 330 watts.The panel has 120.0cells and measures 1711 x 1005 x 30mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 22.0kg and suitable for Residential applications.key features:Higher output power . More reliable, more stable power generation. Less shading effect . Lower temperature coefficientNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 350W MBB Bifacial Monocrystalline PERC - 330 - 350 Watt (330W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-350w-mbb-bifacial-monocrystalline-perc-330-350-watt-330w-")
46 | LG NeON R Prime 60 Cell Monocrystalline 355 375 Watt 370W | LG NeON R Prime 60 Cell Monocrystalline 355 375 Watt 370W.This is a Monocrystalline solarpanel with a nominal wattage power of 370 watts.The panel has 60.0cells and measures 1700 x 1016 x 40mm in cell dimensions.This is manufacture by LG Solar.The panel weighs 17.5kg and suitable for Residential applications.key features:NeON R Prime is a powerful solar module that provides premium performance. The NeON R Prime incorporates a cell structure without electrodes on the front to decrease the possibility of shading and increase the potential for light absorption. Providing added value for the customer beyond efficiency, this module features a 25-year warranty, outstanding durability, solid performance in real-world conditions and aesthetic design suitable for roofsNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [LG NeON R Prime 60 Cell Monocrystalline - 355 - 375 Watt (370W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-lg-neon-r-prime-60-cell-monocrystalline-355-375-watt-370w-")
47 | RSM1328650M670M 650 670 Watt 655W | RSM1328650M670M 650 670 Watt 655W.This is a Monocrystalline solarpanel with a nominal wattage power of 655 watts.The panel has 132.0cells and measures 2384 x 1303 x 35mm in cell dimensions.This is manufacture by Risen Energy.The panel weighs 36.0kg and suitable for Commercial applications.key features:Global, Tier 1 bankable brand, with independently certified state-of-the-art automated manufacturing. Industry leading lowest thernal co-efficient of power. Industry leading 12 years product warranty. Excellent low irradiance performance. Excellent PID resistance. Positive power tolerance of 0~+3%. Dual stage 100% EL Inspection warranting defect-free product. Module Imp binning radically reduces string mismatch losses. Excellent wind load 2400Pa and snow load 5400Pa under certain installation method. Comprehensive product and system certification. IEC61215:2016; IEC61730-1/-2:2016;. ISO 9001:2015 Quality Management System. ISO 14001:2015 Environmental Management System. ISO 45001:2018 Occupational Health and Safety Management SystemNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [RSM132-8-650M-670M - 650 - 670 Watt (655W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-rsm132-8-650m-670m-650-670-watt-655w-")
48 | Duomax BIFACIAL DUAL GLASS 144 CELL MULTI BUSBAR MODULE 390415 Watt 400W | Duomax BIFACIAL DUAL GLASS 144 CELL MULTI BUSBAR MODULE 390415 Watt 400W.This is a Monocrystalline solarpanel with a nominal wattage power of 400 watts.The panel has 144.0cells and measures 2024 x 1002 x 30mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 26.0kg and suitable for Residential applications.key features:High power output. Up to 415W front power and 20.5% module efficiency with half-cut and MBB (Multi Busbar) technology enabling higher BOS savings. Lower resistance of half-cut cells ensures higher power. Certified to perform in highly challenging environments. High PID resistance through cell process and module material control. Resistant to salt, acid, sand, and ammonia. Proven to be reliable in high temperature and humidity areas. Certified to the best fire class A. Minimizes micro-crack and snail trails. Certified to 5400 Pa positive load and 2400 Pa negative load. High energy generation, low LCOE. Up to 25% additional power gain from back side, depending on the albedo. Excellent 3rd party validated IAM and low light performance with cell process and module material optimization. Low temp coefficient (-0.35%) and NMOT increases energy production. Better anti-shading performance and lower operating temperature. Higher power from same installation footprint as standard modules. Easy to install, wide application. Frame design enables compatibility with standard installation methods. Deployable for ground mounted utility, carports, and agricultural projects. Safe and easy to transport, handle, and install like normal framed modulesNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Duomax BIFACIAL DUAL GLASS 144 CELL MULTI BUSBAR MODULE - 390-415 Watt (400W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-duomax-bifacial-dual-glass-144-cell-multi-busbar-module-390-415-watt-400w-")
49 | LG NeON R Prime 60 Cell Monocrystalline 355 375 Watt 355W | LG NeON R Prime 60 Cell Monocrystalline 355 375 Watt 355W.This is a Monocrystalline solarpanel with a nominal wattage power of 355 watts.The panel has 60.0cells and measures 1700 x 1016 x 40mm in cell dimensions.This is manufacture by LG Solar.The panel weighs 17.5kg and suitable for Residential applications.key features:NeON R Prime is a powerful solar module that provides premium performance. The NeON R Prime incorporates a cell structure without electrodes on the front to decrease the possibility of shading and increase the potential for light absorption. Providing added value for the customer beyond efficiency, this module features a 25-year warranty, outstanding durability, solid performance in real-world conditions and aesthetic design suitable for roofsNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [LG NeON R Prime 60 Cell Monocrystalline - 355 - 375 Watt (355W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-lg-neon-r-prime-60-cell-monocrystalline-355-375-watt-355w-")
50 | Mono 465W MBB Bifacial Monocrystalline PERC 440 465 Watt 460W | Mono 465W MBB Bifacial Monocrystalline PERC 440 465 Watt 460W.This is a Monocrystalline solarpanel with a nominal wattage power of 460 watts.The panel has 144.0cells and measures 2117 x 1052 x 35mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 27.3kg and suitable for Commercial applications.key features:Higher output power . More reliable, more stable power generation. Less shading effect . Lower temperature coefficientNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 465W MBB Bifacial Monocrystalline PERC - 440 - 465 Watt (460W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-465w-mbb-bifacial-monocrystalline-perc-440-465-watt-460w-")
51 | HiHero 415 440 Watt High Efficiency Heterojunction Cell Technology 420W | HiHero 415 440 Watt High Efficiency Heterojunction Cell Technology 420W.This is a HJT cells solarpanel with a nominal wattage power of 420 watts.The panel has 108.0cells and measures 1722 x 1134 x 30mm in cell dimensions.This is manufacture by Canadian Solar.The panel weighs 10.43kg and suitable for Commercial applications.key features:More power. Module efficiency up to 22.5%, maximize the use of rooftop space. No B-O LID, excellent anti-LeTID & anti-PID. Leading temperature coefficient (Pmax): -0.26%/xC. increases energy yield in hot climate. Better shading tolerance. More reliable. Minimizes micro-crack impacts. Heavy snow load up to 5400 Pa, wind load up to 2400 Pa. performance. Low power degradation, high energy yield. Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [HiHero. 415 - 440 Watt. High Efficiency Heterojunction Cell Technology. (420W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-hihero-415-440-watt-high-efficiency-heterojunction-cell-technology-420w-")
52 | HiMO 4m 365 385 Watt 375W | HiMO 4m 365 385 Watt 375W.This is a nan solarpanel with a nominal wattage power of 375 watts.The panel has 120.0cells and measures 1755 x 1038 x 35mm in cell dimensions.This is manufacture by LONGi.The panel weighs 19.5kg and suitable for Residential applications.key features:Suitable for distributed projects. Advanced module technology delivers superior module efficiency. M6 Gallium-doped wafer / 9-busbar Half-cut Cell. Excellent outdoor power generation performance . High module quality ensures long-term reliabilityNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Hi-MO 4m - 365 - 385 Watt (375W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-hi-mo-4m-365-385-watt-375w-")
53 | DEEP BLUE 30 JAM54S30 395 420 Watt 410W | DEEP BLUE 30 JAM54S30 395 420 Watt 410W.This is a Monocrystalline solarpanel with a nominal wattage power of 410 watts.The panel has 108.0cells and measures 1722 x 1134 x 30mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 21.5kg and suitable for Residential applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [DEEP BLUE 3.0 - JAM54S30 - 395 - 420 Watt (410W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-deep-blue-3-0-jam54s30-395-420-watt-410w-")
54 | Duomax BIFACIAL DUAL GLASS 72LAYOUT MODULE 350 370 Watt 350W | Duomax BIFACIAL DUAL GLASS 72LAYOUT MODULE 350 370 Watt 350W.This is a Monocrystalline solarpanel with a nominal wattage power of 350 watts.The panel has 72.0cells and measures 2000 x 1000 x 25mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 31.0kg and suitable for Residential applications.key features:High power output. Increased total power output through generation from front and back side. Backside power gain up to 25%, depending on installation albedo*. Unique J-box design and installation method to avoid shading on the back side. Low LCOE. Maximize limited space, savings in BOS and labour cost. Higher power generation from same installation footprint as standard modules. 30 year linear warranty,0.5% annual degradation. Wide application. Deployable for ground mounted utility, greenhouse and agricultural projects. Special application like sound barriers on expressways. Compatible with major tracker systems. Environmental conditions. Module coating resistant to sand, acid, and alkali. High reliability for extreme weather installationsNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Duomax BIFACIAL DUAL GLASS 72-LAYOUT MODULE - 350 - 370 Watt (350W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-duomax-bifacial-dual-glass-72-layout-module-350-370-watt-350w-")
55 | Tiger Neo Ntype 72HL49V 565585 Watt Mono Facial Module NType 570W | Tiger Neo Ntype 72HL49V 565585 Watt Mono Facial Module NType 570W.This is a N-type Monocrystalline solarpanel with a nominal wattage power of 570 watts.The panel has 144.0cells and measures 2278 x 1134 x 35mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 12.7kg and suitable for Commercial applications.key features:SMBB Technology. Better light trapping and current collection to improve module power output and reliability. Hot 2.0 Technology. The N-type module with Hot 2.0 technology has better reliability and lower LID/LETID. PID Resistance. Excellent Anti-PID performance guarantee via optimized mass-production process and materials control. Enhanced Mechanical Load. Certified to withstand: wind load (2400 Pascal) and snow load (5400 Pascal). Durability Against Extreme Environmental Conditions. High salt mist and ammonia resistance.Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tiger Neo N-type 72HL4-9V. 565-585 Watt. Mono Facial Module. N-Type. (570W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tiger-neo-n-type-72hl4-9v-565-585-watt-mono-facial-module-n-type-570w-")
56 | Polycrystalline high power solar modules PENTA+ 275 290 Watt 275W | Polycrystalline high power solar modules PENTA+ 275 290 Watt 275W.This is a Monocrystalline PERC solarpanel with a nominal wattage power of 275 watts.The panel has 60.0cells and measures 1654 x 989 x 40mm in cell dimensions.This is manufacture by Astronergy.The panel weighs 18.2kg and suitable for Residential applications.key features:With innovative 5-busbar PERC cell. Improved reliability. Increased efficiency through reduced series resistance. Homogenous dark appearance to meet highest optical standardsNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Polycrystalline high power solar modules - PENTA+ - 275 - 290 Watt (275W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-polycrystalline-high-power-solar-modules-penta-275-290-watt-275w-")
57 | Vertex BACKSHEET MONOCRYSTALLINE MODULE 380 405 Watt 400W | Vertex BACKSHEET MONOCRYSTALLINE MODULE 380 405 Watt 400W.This is a Monocrystalline solarpanel with a nominal wattage power of 400 watts.The panel has 120.0cells and measures 1754 x 1096 x 30mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 21.0kg and suitable for Residential applications.key features:High value. More productivity from same roof size.. Outstanding visual appearance.. Leading 210mm cell technology.. Small in size, big on power. Small format module allow greater energy generation in limited space.. Up to 405W, 21.1% module eciency with high density interconnect technology. Multi-busbar technology for better light trapping eect, lower series resistance and improved current.. Reduce installation cost with higher power bin and eciency.. Boost performance in warm weather with lower temperature coecient (-0.34%) and operating temperature.. Universal solution for residential and C&I rooftops. Designed for compatibility with existing mainstream optimizers, inverters and mounting systems.. Perfect size and low weight makes handling and transportation easier and more cost-eective.. Diverse installation solutions for exibility in system deployment. High Reliability. 25 year product warranty.. 25 year performance warranty with lowest degradation.. Minimized micro-cracks with innovative non-destructive cutting technology.. Ensured PID resistance through cell process and module material control.. Mechanical performance up to +6000 Pa and-4000 Pa negative loadNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Vertex BACKSHEET MONOCRYSTALLINE MODULE - 380 - 405 Watt (400W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-vertex-backsheet-monocrystalline-module-380-405-watt-400w-")
58 | Mono 390W MBB HalfCell Module 365390 Watt 375W | Mono 390W MBB HalfCell Module 365390 Watt 375W.This is a Monocrystalline solarpanel with a nominal wattage power of 375 watts.The panel has 120.0cells and measures 1769 x 1052 x 35mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 20.5kg and suitable for Residential applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 390W MBB Half-Cell Module - 365-390 Watt (375W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-390w-mbb-half-cell-module-365-390-watt-375w-")
59 | BiHiKu6 520 550 Watt Bifacial Monocrystalline PERC 530W | BiHiKu6 520 550 Watt Bifacial Monocrystalline PERC 530W.This is a Monocrystalline solarpanel with a nominal wattage power of 530 watts.The panel has 144.0cells and measures 2266 x 1134 x 30mm in cell dimensions.This is manufacture by Canadian Solar.The panel weighs 14.56kg and suitable for Commercial applications.key features:More Power. Module power up to 550W. Module efficiency up to 21.4%. Up to 12.3% lower LCOE. Up to 5.2% lower system cost. Comprehensive LID / LeTID mitigation technology, up to 50% lower degradation. Better Shading Tolerance. More reliable. Minimizes micro-crack impacts. Heavy snow load up to 5400 Pa, wind load up to 2400 PaNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [BiHiKu6. 520 - 550 Watt. Bifacial Monocrystalline PERC. (530W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-bihiku6-520-550-watt-bifacial-monocrystalline-perc-530w-")