## Sheet1
| name | completion
0 | Tiger Pro 72HCBDVP 530550 Watt Bifacial Module with Dual Glass 550W | Tiger Pro 72HCBDVP 530550 Watt Bifacial Module with Dual Glass 550W.This is a Monocrystalline solarpanel with a nominal wattage power of 550 watts.The panel has 144.0cells and measures 2278 x 1134 x 30mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 14.51kg and suitable for Commercial applications.key features:Multi Busbar Technology. Better light trapping and current collection to improve module power output and reliability. Reduced Hot Spot Loss. Optimized electrical design and lower operating current for reduced hot spot loss and better temperature coefficient. PID Resistance. Excellent Anti-PID performance guarantee via optimized mass-production process and materials control. Durability Against Extreme Environmental Conditions.High salt mist and ammonia resistance. Enhanced Mechanical Load. Certified to withstand: wind load (2400 Pascal) and snow load (5400 Pascal).Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tiger Pro 72HC-BDVP. 530-550 Watt. Bifacial Module with Dual Glass (550W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tiger-pro-72hc-bdvp-530-550-watt-bifacial-module-with-dual-glass-550w-")
1 | RSM408390M415M 390 415 Watt 390W Steel | RSM408390M415M 390 415 Watt 390W Steel.This is a Monocrystalline solarpanel with a nominal wattage power of 390 watts.The panel has 120.0cells and measures 1754 x 1096 x 30mm in cell dimensions.This is manufacture by Risen Energy.The panel weighs 22.0kg and suitable for Residential applications.key features:Global, Tier 1 bankable brand, with independently certified state-of-the-art automated manufacturing. Industry leading lowest thernal co-efficient of power. Industry leading 12 years product warranty. Excellent low irradiance performance. Excellent PID resistance. Positive power tolerance of 0~+3%. Dual stage 100% EL Inspection warranting defect-free product. Module Imp binning radically reduces string mismatch losses. Excellent wind load 2400Pa and snow load 5400Pa under certain installation method. Comprehensive product and system certification. IEC61215:2016; IEC61730-1/-2:2016;. ISO 9001:2015 Quality Management System. ISO 14001:2015 Environmental Management System. ISO 45001:2018 Occupational Health and Safety Management SystemNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [RSM40-8-390M-415M - 390 - 415 Watt (390W) Steel]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-rsm40-8-390m-415m-390-415-watt-390w-steel")
2 | Mono 470W MBB HalfCell Module 445 470 Watt 470W | Mono 470W MBB HalfCell Module 445 470 Watt 470W.This is a Monocrystalline solarpanel with a nominal wattage power of 470 watts.The panel has 144.0cells and measures 2112 x 1052 x 35mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 24.5kg and suitable for Commercial applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 470W MBB Half-Cell Module - 445 - 470 Watt (470W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-470w-mbb-half-cell-module-445-470-watt-470w-")
3 | BiHiKu 435 460 Watt High Power Bifacial Monocrystalline PERC 440W | BiHiKu 435 460 Watt High Power Bifacial Monocrystalline PERC 440W.This is a Monocrystalline solarpanel with a nominal wattage power of 440 watts.The panel has 144.0cells and measures 2132 x 1048 x 30mm in cell dimensions.This is manufacture by Canadian Solar.The panel weighs 10.43kg and suitable for Commercial applications.key features:More power. Up to 30% more power from the back side. 24 % higher front side power than conventional modules. Low NMOT: 41 x 3 xC Low temperature coefficient (Pmax): -0.34 % / xC. Better shading tolerance. More reliable. Minimizes micro-crack impacts. Lower internal current, wind load up to 3600 Pa Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [BiHiKu. 435 - 460 Watt. High Power Bifacial Monocrystalline PERC. (440W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-bihiku-435-460-watt-high-power-bifacial-monocrystalline-perc-440w-")
4 | LG NeON R 60 cell Monocrystalline 365W 385 Watt 385W | LG NeON R 60 cell Monocrystalline 365W 385 Watt 385W.This is a Monocrystalline solarpanel with a nominal wattage power of 385 watts.The panel has 60.0cells and measures 1700 x 1016 x 40mm in cell dimensions.This is manufacture by LG Solar.The panel weighs 17.5kg and suitable for Residential applications.key features:LG NeON R is a powerful, high-performing solar module. A cell structure that eliminates electrodes on the front to decrease the possibility of shading and increase the potential for light absorption. LG NeON R features powerful performance and a streamlined design suitable for residential roofs.Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [LG NeON R 60 cell Monocrystalline 365W - 385 Watt (385W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-lg-neon-r-60-cell-monocrystalline-365w-385-watt-385w-")
5 | Monocrystalline PV Module Astro 5s 390 405 Watt 395W | Monocrystalline PV Module Astro 5s 390 405 Watt 395W.This is a Monocrystalline solarpanel with a nominal wattage power of 395 watts.The panel has nancells and measures 1708 x 1133 x 30mm in cell dimensions.This is manufacture by Astronergy.The panel weighs 21.5kg and suitable for Residential applications.key features:Output Positive Tolerance. Guaranteed 0-+5W positive tolerance to ensure output. Non-Destructive Cutting. Higher bending strength of cells and mechanical properties of modules. Innovational Multi-Busbar Technology. Higher light absorption, lower risk of microcrack. Innovational Half-Cut Technology. Better shading tolerance, higher reliability. The State of the Art Appearance. Full black designed for a better aesthetic appearance and building integration. PID Resistance. Excellent PID resistance Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Monocrystalline PV Module - Astro 5s - 390 - 405 Watt (395W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-monocrystalline-pv-module-astro-5s-390-405-watt-395w-")
6 | Tiger N Type 66TR 390410 Watt MonoFacial Module 400W | Tiger N Type 66TR 390410 Watt MonoFacial Module 400W.This is a Monocrystalline solarpanel with a nominal wattage power of 400 watts.The panel has 132.0cells and measures 1855 x 1029 x 30mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 9.43kg and suitable for Residential applications.key features:TR technology. TR technology with Half cell aims to eliminate the cell gap to increase module efficiency (mono-facial up to 21.48%). 9BB instead of 5BB. 9BB technology decreases the distance between bus bars and finger grid line which is benefit to power increase. Higher lifetime Power Yield. 2% first year degradation, 0.55% linear degradation. Enhanced Mechanical Load. Certified to withstand: wind load (2400 Pascal) and snow load (5400 Pascal). Avoid debris, cracks and broken gate risk effectively. 9BB technology using circular ribbon that could avoid debris, cracks and broken gate risk effectively Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tiger N Type 66TR. 390-410 Watt. Mono-Facial Module. (400W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tiger-n-type-66tr-390-410-watt-mono-facial-module-400w-")
7 | Tiger 78TR 470490 Watt MonoFacial Module 490W | Tiger 78TR 470490 Watt MonoFacial Module 490W.This is a Monocrystalline solarpanel with a nominal wattage power of 490 watts.The panel has 156.0cells and measures 2182 x 1029 x 35mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 11.34kg and suitable for Commercial applications.key features:TR technology. TR technology with Half cell aims to eliminate the cell gap to increase module efficiency (mono-facial up to 21.48%). 9BB instead of 5BB. 9BB technology decreases the distance between bus bars and finger grid line which is benefit to power increase. Higher lifetime Power Yield. 2% first year degradation, 0.55% linear degradation. Enhanced Mechanical Load. Certified to withstand: wind load (2400 Pascal) and snow load (5400 Pascal). Avoid debris, cracks and broken gate risk effectively. 9BB technology using circular ribbon that could avoid debris, cracks and broken gate risk effectively Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tiger 78TR. 470-490 Watt. Mono-Facial Module. (490W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tiger-78tr-470-490-watt-mono-facial-module-490w-")
8 | Tiger Neo Ntype 54HL4 V 410430 Watt MonoFacial Module NType 420W | Tiger Neo Ntype 54HL4 V 410430 Watt MonoFacial Module NType 420W.This is a N-type Monocrystalline solarpanel with a nominal wattage power of 420 watts.The panel has 108.0cells and measures 1722 x 1134 x 30mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 9.98kg and suitable for Commercial applications.key features:SMBB Technology. Better light trapping and current collection to improve module power output and reliability. Hot 2.0 Technology. The N-type module with Hot 2.0 technology has better reliability and lower LID/LETID. PID Resistance. Excellent Anti-PID performance guarantee via optimized mass-production process and materials control. Enhanced Mechanical Load. Certified to withstand: wind load (2400 Pascal) and snow load (5400 Pascal). Durability Against Extreme Environmental Conditions. High salt mist and ammonia resistance.Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tiger Neo N-type 54HL4 - (V). 410-430 Watt. Mono-Facial Module. N-Type. (420W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tiger-neo-n-type-54hl4-v-410-430-watt-mono-facial-module-n-type-420w-")
9 | DEEP BLUE 30 JAM72S30 530 555 Watt 555W | DEEP BLUE 30 JAM72S30 530 555 Watt 555W.This is a Monocrystalline solarpanel with a nominal wattage power of 555 watts.The panel has 144.0cells and measures 2278 x 1134 x 35mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 28.1kg and suitable for Commercial applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [DEEP BLUE 3.0 - JAM72S30 - 530 - 555 Watt (555W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-deep-blue-3-0-jam72s30-530-555-watt-555w-")
10 | RSM1328645BMDG665BMDG 645 665 Watt 660W | RSM1328645BMDG665BMDG 645 665 Watt 660W.This is a Monocrystalline solarpanel with a nominal wattage power of 660 watts.The panel has 132.0cells and measures 2384 x 1303 x 35mm in cell dimensions.This is manufacture by Risen Energy.The panel weighs 41.0kg and suitable for Commercial applications.key features:Global, Tier 1 bankable brand, with independently certified state-of-the-art automated manufacturing. Industry leading lowest thernal co-efficient of power. Industry leading 12 years product warranty. Excellent low irradiance performance. Excellent PID resistance. Positive power tolerance of 0~+3%. Dual stage 100% EL Inspection warranting defect-free product. Module Imp binning radically reduces string mismatch losses. Excellent wind load 2400Pa and snow load 5400Pa under certain installation method. Comprehensive product and system certification. IEC61215:2016; IEC61730-1/-2:2016;. ISO 9001:2015 Quality Management System. ISO 14001:2015 Environmental Management System. ISO 45001:2018 Occupational Health and Safety Management SystemNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [RSM132-8-645BMDG-665BMDG - 645 - 665 Watt (660W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-rsm132-8-645bmdg-665bmdg-645-665-watt-660w-")
11 | Cheetah HC 72M 390410 Watt Monocrystalline PERC Half Cell Model 390W | Cheetah HC 72M 390410 Watt Monocrystalline PERC Half Cell Model 390W.This is a Monocrystalline PERC solarpanel with a nominal wattage power of 390 watts.The panel has 144.0cells and measures 2008 x 1002 x 30mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 9.98kg and suitable for Residential applications.key features:5 busbar solar cell adopts new technology to improve the efficiency of modules , offers a better aesthetic appearance, making it perfect for rooftop installation. Higher module conversion efficiency (up to 20.38%) benefit from half cell structure (low resistance characteristic). Excellent Anti-PID performance guarantee limited power degradation for mass production. Advanced glass and cell surface textured design ensure excellent performance. Severe Weather Resilience. Certified to withstand: wind load (2400 Pascal) and snow load (5400 Pascal). Durability Against Extreme Environmental Conditions. High salt mist and ammonia resistance certified by TUV NORD.Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Cheetah HC 72M. 390-410 Watt. Monocrystalline PERC Half Cell Model (390W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-cheetah-hc-72m-390-410-watt-monocrystalline-perc-half-cell-model-390w-")
12 | Tallmax Plus FRAMED 144 HALFCELL MODULE 345 395 Watt 365W | Tallmax Plus FRAMED 144 HALFCELL MODULE 345 395 Watt 365W.This is a Monocrystalline solarpanel with a nominal wattage power of 365 watts.The panel has 144.0cells and measures 2000 x 992 x 40mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 23.0kg and suitable for Residential applications.key features:Increased Value. Reduce BOS cost with high power bin and 1500V system voltage. Low thermal coefficients for greater energy production at higher temperature. Half-cell design brings higher eciency. New cell string layout and split J-box location to reduce the energy loss caused by inter-row shading. Integrated LRF(Light Redirecting Film) to enhance power, specially for ground-mount applications. Lower cell connection power losses due to half-cell layout (144 monocrystalline). Highly reliable due to stringent quality control. Over 30 in-house tests (UV, TC, HF etc). Increased module robustness to minimize micro-cracks. PID resistant and free of snail trails. .Internal test requirement of Trina more stringent than certification authority. Certied to withstand the most challenging environmental conditions. 2400 Pa negative load. 5400 Pa positive loadNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tallmax Plus FRAMED 144 HALF-CELL MODULE - 345 - 395 Watt (365W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tallmax-plus-framed-144-half-cell-module-345-395-watt-365w-")
13 | Vertex Bifacial Dual Glass Moncosrystalline Module 640 665 Watt 640W | Vertex Bifacial Dual Glass Moncosrystalline Module 640 665 Watt 640W.This is a Monocrystalline solarpanel with a nominal wattage power of 640 watts.The panel has 132.0cells and measures 2384 x 1303 x 35mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 38.7kg and suitable for Commercial applications.key features:High customer value. Lower LCOE (Levelized Cost Of Energy), reduced BOS (Balance of System) cost, shorter payback time. Lowest guaranteed rst year and annual degradation. Designed for compatibility with existing mainstream system components. High power up to 665W. Up to 21.4% module eciency with high density interconnect technology. Multi-busbar technology for better light trapping eect, lower series resistance and improved current collection. High reliability. Minimized micro-cracks with innovative non-destructive cutting technology. Ensured PID resistance through cell process and module material control. Resistant to harsh environments such as salt, ammonia, sand, high temperature and high humidity areas. Mechanical performance up to 5400 Pa positive load and 2400 Pa negative load. High energy yield. Excellent IAM (Incident Angle Modier) and low irradiation performance, validated by 3rd party certications. The unique design provides optimized energy production under inter-row shading conditions. Lower temperature coecient (-0.34%) and operating temperature. Up to 25% additional power gain from back side depending on albedoNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Vertex Bifacial Dual Glass Moncosrystalline Module - 640 - 665 Watt (640W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-vertex-bifacial-dual-glass-moncosrystalline-module-640-665-watt-640w-")
14 | First Solar Series 4x PV Module 105 1175 Watt 1125W | First Solar Series 4x PV Module 105 1175 Watt 1125W.This is a Thin-film solarpanel with a nominal wattage power of 112.5 watts.The panel has 105.0cells and measures 1200 x 600 x 6.8mm in cell dimensions.This is manufacture by First Solar.The panel weighs 12.0kg and suitable for Residential applications.key features:PROVEN ENERGY YIELD ADVANTAGE. Generates more energy than conventional crystalline silicon solar modules with the same power. Superior temperature coefficient resulting in greater energy yield in typical field operating temperatures. Superior spectral response resulting in a proven energy yield advantage in humid environments. Anti-reflective coated glass (Series 4Ax) enhances energy production. ADVANCED PERFORMANCE & RELIABILITY. Long-term power-output warranted for 25 years. Compatible with advanced 1500V plant architectures. Highly predictable energy in all climates and applications. Independently certified for reliable performance in high temperature, high humidity, extreme desert and coastal environments based on accelerated life and stress tests . CERTIFICATIONS & TESTS. PID-Free, Thresher Test, Long-Term Sequential Test, and ATLAS 25+1. IEC 61646 1500V, IEC 61730 1500V, CE. IEC 61701 Salt Mist Corrosion, IEC 60068-2-68 Dust and Sand Resistance. ISO 9001:2008 and ISO 14001:2004. UL 1703 and ULC 1703 Listed Class B Fire Rating (Class A Spread of Flame). CSI Eligible (CA-USA), FSEC (FL-USA), MCS (UK), CEC Listed (Australia), JET (Japan)2, SII (Israel), InMetro (Brazil)2Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [First Solar Series 4x PV Module - 105 - 117.5 Watt (112.5W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-first-solar-series-4x-pv-module-105-117-5-watt-112-5w-")
15 | LG NeON 2 60 Cell Monocrystalline 340 370 340W | LG NeON 2 60 Cell Monocrystalline 340 370 340W.This is a Monocrystalline solarpanel with a nominal wattage power of 340 watts.The panel has 60.0cells and measures 1686 x 1016 x 40mm in cell dimensions.This is manufacture by LG Solar.The panel weighs 17.1kg and suitable for Residential applications.key features:The LG NeON 2 is available in both 60-cell and 72-cell configurations, providing solutions for both residential and commercial projects. LG NeON 2 solar panels provide high efficiency, high power output, appealing aesthetics and reliable performance. The panels incorporate Cello Technology (Cell connection with Electrically Low loss, Low stress and Optical absorption enhancement), developed by LG to increase power output and improve panel appearance Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [LG NeON 2 60 Cell - Monocrystalline - 340 - 370 (340W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-lg-neon-2-60-cell-monocrystalline-340-370-340w-")
16 | Monocrystalline PV Module PENTA+ Premium 290 310 Watt 310W | Monocrystalline PV Module PENTA+ Premium 290 310 Watt 310W.This is a Monocrystalline solarpanel with a nominal wattage power of 310 watts.The panel has nancells and measures 1650 x 992 x 35mm in cell dimensions.This is manufacture by Astronergy.The panel weighs 18.4kg and suitable for Residential applications.key features:OUTPUT POSITIVE TOLERANCE. Guaranteed 0~+5W positive tolerance ensures power output reliability.. INNOVATIONAL 5-BUSBAR CELLS. Reduces the cell series resistance and internal stress, decreases the risk of mirco-crack and improves the module output. PID RESISTANCE. Excellent PID resistance at 96 hours (@85xC /85%) test, and also can be improved to meet higher standards for the particularly harsh environment.. EXCELLENT MECHANICAL LOAD CAPABILITY. Certified to withstand: snow load (6000 Pa) and wind load (3600 Pa).. THE-STATE-OF-THE-ART APPEARANCE. Full black designed for a better aesthetic appearance and building integration.. PASSED HAIL TEST. Certified to hail resistence: ice ball size (d=45mm) and ice ball velocity (v=30.7m/s).. LOWER TEMPERATURE COEFFICIENT. Improved temperature coefficient decreases power loss in the hightemperature applicationNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Monocrystalline PV Module - PENTA+ Premium - 290 - 310 Watt (310W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-monocrystalline-pv-module-penta-premium-290-310-watt-310w-")
17 | DEEP BLUE 30 JAM54S30 395 420 Watt 420W | DEEP BLUE 30 JAM54S30 395 420 Watt 420W.This is a Monocrystalline solarpanel with a nominal wattage power of 420 watts.The panel has 108.0cells and measures 1722 x 1134 x 30mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 21.5kg and suitable for Commercial applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [DEEP BLUE 3.0 - JAM54S30 - 395 - 420 Watt (420W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-deep-blue-3-0-jam54s30-395-420-watt-420w-")
18 | First Solar Series 4x PV Module 105 1175 Watt 105W | First Solar Series 4x PV Module 105 1175 Watt 105W.This is a Thin-film solarpanel with a nominal wattage power of 105 watts.The panel has 105.0cells and measures 1200 x 600 x 6.8mm in cell dimensions.This is manufacture by First Solar.The panel weighs 12.0kg and suitable for Residential applications.key features:PROVEN ENERGY YIELD ADVANTAGE. Generates more energy than conventional crystalline silicon solar modules with the same power. Superior temperature coefficient resulting in greater energy yield in typical field operating temperatures. Superior spectral response resulting in a proven energy yield advantage in humid environments. Anti-reflective coated glass (Series 4Ax) enhances energy production. ADVANCED PERFORMANCE & RELIABILITY. Long-term power-output warranted for 25 years. Compatible with advanced 1500V plant architectures. Highly predictable energy in all climates and applications. Independently certified for reliable performance in high temperature, high humidity, extreme desert and coastal environments based on accelerated life and stress tests . CERTIFICATIONS & TESTS. PID-Free, Thresher Test, Long-Term Sequential Test, and ATLAS 25+1. IEC 61646 1500V, IEC 61730 1500V, CE. IEC 61701 Salt Mist Corrosion, IEC 60068-2-68 Dust and Sand Resistance. ISO 9001:2008 and ISO 14001:2004. UL 1703 and ULC 1703 Listed Class B Fire Rating (Class A Spread of Flame). CSI Eligible (CA-USA), FSEC (FL-USA), MCS (UK), CEC Listed (Australia), JET (Japan)2, SII (Israel), InMetro (Brazil)2Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [First Solar Series 4x PV Module - 105 - 117.5 Watt (105W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-first-solar-series-4x-pv-module-105-117-5-watt-105w-")
19 | Eagle 72HM G5b 525545 Watt Half Cell Bifacial 530W | Eagle 72HM G5b 525545 Watt Half Cell Bifacial 530W.This is a Half-Cell solarpanel with a nominal wattage power of 530 watts.The panel has 144.0cells and measures 2274 x 1134 x 40mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 13.34kg and suitable for Commercial applications.key features:Multi Busbar Half Cell Technology. High efficiency half cut solar cells deliver high power in a small footprint. Bifacial Power Gain. Bifacial cell architecture allows backside bonus and more lifetime power yield. Light-Weight Design. Use of transparent backsheet allows for easy installation and lower BOS cost. Thick and Tough. Fire Type 1 rated module engineered with a thick frame, 3.2mm front side glass, and thick backsheet for added durability. Shade Tolerant. Twin array design allows continued performance even with shading by trees or debris. Protected Against All Environments. Certified to withstand humidity, heat, rain, marine environments, wind, hailstorms, and packed snow.Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Eagle 72HM G5b. 525-545 Watt. Half Cell Bifacial. (530W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-eagle-72hm-g5b-525-545-watt-half-cell-bifacial-530w-")
20 | Monocrystalline PV Module PENTA+ Premium 330 350 Watt 335W | Monocrystalline PV Module PENTA+ Premium 330 350 Watt 335W.This is a Monocrystalline solarpanel with a nominal wattage power of 335 watts.The panel has nancells and measures 1692 x 1002 x 35mm in cell dimensions.This is manufacture by Astronergy.The panel weighs 19.1kg and suitable for Residential applications.key features:OUTPUT POSITIVE TOLERANCE. Guaranteed 0~+5W positive tolerance ensures power output reliability.. INNOVATIONAL HALF-CELL TECHNOLOGY. Improves the module output, decreases the risk of mirco-crack, enhances. the module reliability.. INNOVATIVE PERC CELL TECHNOLOGY. Excellent cell efficiency and output.. REDUCE SHADOW LOSS. Effectively reduces the effect of shadow on the module surface.. REDUCE INTERNAL MISMATCH LOSS. Reduces mismatch loss and improves output.. PASSED HAIL TEST. Certified to hail resistence: ice ball size (d=25mm) and ice ball velocity. (v=23m/s).. PID RESISTANCE. Excellent PID resistance at 96 hours (@85xC /85%) test, and also can be. improved to meet higher standards for the particularly harsh environment Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Monocrystalline PV Module - PENTA+ Premium - 330 - 350 Watt (335W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-monocrystalline-pv-module-penta-premium-330-350-watt-335w-")
21 | Duomax BIFACIAL DUAL GLASS 72LAYOUT MODULE 350 370 Watt 360W | Duomax BIFACIAL DUAL GLASS 72LAYOUT MODULE 350 370 Watt 360W.This is a Monocrystalline solarpanel with a nominal wattage power of 360 watts.The panel has 72.0cells and measures 2000 x 1000 x 25mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 31.0kg and suitable for Residential applications.key features:High power output. Increased total power output through generation from front and back side. Backside power gain up to 25%, depending on installation albedo*. Unique J-box design and installation method to avoid shading on the back side. Low LCOE. Maximize limited space, savings in BOS and labour cost. Higher power generation from same installation footprint as standard modules. 30 year linear warranty,0.5% annual degradation. Wide application. Deployable for ground mounted utility, greenhouse and agricultural projects. Special application like sound barriers on expressways. Compatible with major tracker systems. Environmental conditions. Module coating resistant to sand, acid, and alkali. High reliability for extreme weather installationsNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Duomax BIFACIAL DUAL GLASS 72-LAYOUT MODULE - 350 - 370 Watt (360W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-duomax-bifacial-dual-glass-72-layout-module-350-370-watt-360w-")
22 | Polycrystalline PV Module PENTA Classic 265 280 Watt 275W | Polycrystalline PV Module PENTA Classic 265 280 Watt 275W.This is a Monocrystalline solarpanel with a nominal wattage power of 275 watts.The panel has nancells and measures 1650 x 992 x 35mm in cell dimensions.This is manufacture by Astronergy.The panel weighs 18.4kg and suitable for Residential applications.key features:OUTPUT POSITIVE TOLERANCE. Guaranteed 0~+5W positive tolerance ensures power output reliability.. INNOVATIONAL 5-BUSBAR CELLS. Reduces the cell series resistance and internal stress, decreases the risk of mirco-crack and improves the module output. PID RESISTANCE. Excellent PID resistance at 96 hours (@85xC /85%) test, and also can be improved to meet higher standards for the particularly harsh environment.. EXCELLENT MECHANICAL LOAD CAPABILITY. Certified to withstand: snow load (6000 Pa) and wind load (3600 Pa).. HIGHER RELIABILITY AND DURABILITY. Effectively deals with harsh environments,such as sand, salt mist and ammonia resistance.. PASSED HAIL TEST. Certified to hail resistence: ice ball size (d=45mm) and ice ball velocity (v=30.7m/s).. EXCELLENT LOW-LIGHT PERFORMANCE. With the deep textured ARC glass and cell surface texturing process, achieve the excellent performance at the haze, cloudy days and other low light conditions.Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Polycrystalline PV Module - PENTA Classic - 265 - 280 Watt (275W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-polycrystalline-pv-module-penta-classic-265-280-watt-275w-")
23 | Monocrystalline PV Module PENTA+ Premium 330 350 Watt 330W | Monocrystalline PV Module PENTA+ Premium 330 350 Watt 330W.This is a Monocrystalline solarpanel with a nominal wattage power of 330 watts.The panel has nancells and measures 1692 x 1002 x 35mm in cell dimensions.This is manufacture by Astronergy.The panel weighs 19.1kg and suitable for Residential applications.key features:OUTPUT POSITIVE TOLERANCE. Guaranteed 0~+5W positive tolerance ensures power output reliability.. INNOVATIONAL HALF-CELL TECHNOLOGY. Improves the module output, decreases the risk of mirco-crack, enhances. the module reliability.. INNOVATIVE PERC CELL TECHNOLOGY. Excellent cell efficiency and output.. REDUCE SHADOW LOSS. Effectively reduces the effect of shadow on the module surface.. REDUCE INTERNAL MISMATCH LOSS. Reduces mismatch loss and improves output.. PASSED HAIL TEST. Certified to hail resistence: ice ball size (d=25mm) and ice ball velocity. (v=23m/s).. PID RESISTANCE. Excellent PID resistance at 96 hours (@85xC /85%) test, and also can be. improved to meet higher standards for the particularly harsh environment Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Monocrystalline PV Module - PENTA+ Premium - 330 - 350 Watt (330W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-monocrystalline-pv-module-penta-premium-330-350-watt-330w-")
24 | REC Alpha PureR Series 400 430 Watt 410W | REC Alpha PureR Series 400 430 Watt 410W.This is a Half-Cell solarpanel with a nominal wattage power of 410 watts.The panel has 80.0cells and measures 1730 x 1118 x 30mm in cell dimensions.This is manufacture by REC Solar.The panel weighs 21.5kg and suitable for Residential applications.key features:NANeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [REC Alpha Pure-R Series - 400 - 430 Watt (410W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-rec-alpha-pure-r-series-400-430-watt-410w-")
25 | Monocrystalline PV Module PENTA+ Premium 290 315 Watt 295W | Monocrystalline PV Module PENTA+ Premium 290 315 Watt 295W.This is a Monocrystalline solarpanel with a nominal wattage power of 295 watts.The panel has nancells and measures 1650 x 992 x 35mm in cell dimensions.This is manufacture by Astronergy.The panel weighs 18.4kg and suitable for Residential applications.key features:OUTPUT POSITIVE TOLERANCE. Guaranteed 0~+5W positive tolerance ensures power output reliability.. INNOVATIONAL 5-BUSBAR CELLS. Reduces the cell series resistance and internal stress, decreases the risk of mirco-crack and improves the module output. PID RESISTANCE. Excellent PID resistance at 96 hours (@85xC /85%) test, and also can be improved to meet higher standards for the particularly harsh environment.. EXCELLENT MECHANICAL LOAD CAPABILITY. Certified to withstand: snow load (6000 Pa) and wind load (3600 Pa).. THE-STATE-OF-THE-ART APPEARANCE. Full black designed for a better aesthetic appearance and building integration.. PASSED HAIL TEST. Certified to hail resistence: ice ball size (d=45mm) and ice ball velocity (v=30.7m/s).. LOWER TEMPERATURE COEFFICIENT. Improved temperature coefficient decreases power loss in the hightemperature applicationNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Monocrystalline PV Module - PENTA+ Premium - 290 - 315 Watt (295W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-monocrystalline-pv-module-penta-premium-290-315-watt-295w-")
26 | Tallmax Framed 252 Layout Module 470 490 Watt 480W | Tallmax Framed 252 Layout Module 470 490 Watt 480W.This is a Monocrystalline PERC solarpanel with a nominal wattage power of 480 watts.The panel has 252.0cells and measures 2315 x 1016 x 35mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 26.0kg and suitable for Commercial applications.key features:High power. Up to 490W front power and 20.8% module efficiency with third-cut and MBB (Multi Busbar) technology bringing more BOS savings. Lower resistance and good reflection effect of MBB ensures higher power. High energy generation. Excellent IAM and low light performance validated by 3rd party with cell process and module material optimization. Better anti-shading performance and lower operating temperature. High reliability. Improved PID resistance through cell process and module material control. Resistant to salt, acid, and ammonia. Proven to be reliable in high temperature and humidity areas. Mechanical performance: Up to 5400 Pa positive load and 2400 Pa negative loadNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tallmax Framed 252 Layout Module - 470 - 490 Watt (480W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tallmax-framed-252-layout-module-470-490-watt-480w-")
27 | Monocrystalline PV Module PENTA Premium 275 290 Watt 280W | Monocrystalline PV Module PENTA Premium 275 290 Watt 280W.This is a Monocrystalline solarpanel with a nominal wattage power of 280 watts.The panel has nancells and measures 1650 x 992 x 35mm in cell dimensions.This is manufacture by Astronergy.The panel weighs 18.4kg and suitable for Residential applications.key features:OUTPUT POSITIVE TOLERANCE. Guaranteed 0~+5W positive tolerance ensures power output reliability.. INNOVATIONAL 5-BUSBAR CELLS. Reduces the cell series resistance and internal stress, decreases the risk of mirco-crack and improves the module output. PID RESISTANCE. Excellent PID resistance at 96 hours (@85xC /85%) test, and also can be improved to meet higher standards for the particularly harsh environment.. EXCELLENT MECHANICAL LOAD CAPABILITY. Certified to withstand: snow load (6000 Pa) and wind load (3600 Pa).. THE-STATE-OF-THE-ART APPEARANCE. Full black designed for a better aesthetic appearance and building integration.. PASSED HAIL TEST. Certified to hail resistence: ice ball size (d=45mm) and ice ball velocity (v=30.7m/s).. LOWER TEMPERATURE COEFFICIENT. Improved temperature coefficient decreases power loss in the hightemperature applicationNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Monocrystalline PV Module- PENTA Premium - 275 - 290 Watt (280W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-monocrystalline-pv-module-penta-premium-275-290-watt-280w-")
28 | First Solar Series 4x PV Module 105 1175 Watt 115W | First Solar Series 4x PV Module 105 1175 Watt 115W.This is a Thin-film solarpanel with a nominal wattage power of 115 watts.The panel has 105.0cells and measures 1200 x 600 x 6.8mm in cell dimensions.This is manufacture by First Solar.The panel weighs 12.0kg and suitable for Residential applications.key features:PROVEN ENERGY YIELD ADVANTAGE. Generates more energy than conventional crystalline silicon solar modules with the same power. Superior temperature coefficient resulting in greater energy yield in typical field operating temperatures. Superior spectral response resulting in a proven energy yield advantage in humid environments. Anti-reflective coated glass (Series 4Ax) enhances energy production. ADVANCED PERFORMANCE & RELIABILITY. Long-term power-output warranted for 25 years. Compatible with advanced 1500V plant architectures. Highly predictable energy in all climates and applications. Independently certified for reliable performance in high temperature, high humidity, extreme desert and coastal environments based on accelerated life and stress tests . CERTIFICATIONS & TESTS. PID-Free, Thresher Test, Long-Term Sequential Test, and ATLAS 25+1. IEC 61646 1500V, IEC 61730 1500V, CE. IEC 61701 Salt Mist Corrosion, IEC 60068-2-68 Dust and Sand Resistance. ISO 9001:2008 and ISO 14001:2004. UL 1703 and ULC 1703 Listed Class B Fire Rating (Class A Spread of Flame). CSI Eligible (CA-USA), FSEC (FL-USA), MCS (UK), CEC Listed (Australia), JET (Japan)2, SII (Israel), InMetro (Brazil)2Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [First Solar Series 4x PV Module - 105 - 117.5 Watt (115W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-first-solar-series-4x-pv-module-105-117-5-watt-115w-")
29 | First Solar Series 6 430 460 Watt 455W | First Solar Series 6 430 460 Watt 455W.This is a Thin-film solarpanel with a nominal wattage power of 455 watts.The panel has 264.0cells and measures 2009 x 1232 x 49mm in cell dimensions.This is manufacture by First Solar.The panel weighs 34.5kg and suitable for Commercial applications.key features:MORE LIFETIME ENERGY PER NAMEPLATE WATT. Industryxs best (0.3%) warranted degradation rate. Superior temperature coefficient, spectral response and shading behavior. Unlike crystalline silicon modules, First Solarxs thin film technology does not experience the losses associated with LID and LeTID. Anti-reflective coated glass enhances energy production. INNOVATIVE MODULE DESIGN. Under-mount frame provides the cleaning and snow-shedding benefits of a frameless module while protecting edges against breakage. Innovative SpeedSlots combine the robustness of bottom mounting with the speed of top clamping while utilizing fewer fasteners to achieve the industryxs fastest installation times and lowest mounting hardware costs. Dual junction box design optimizes module-to-module connections and eliminates the need for wire management. BEST IN-CLASS RELIABILITY & DURABILITY. Manufactured under one roof with 100% traceable QA/QC. Independently tested and certified for reliable performance that exceeds IEC standards in high temperature, high humidity, extreme desert and coastal applications. Inherently immune to and warranted against power loss from cell cracking. Durable glass/glass construction. BEST ENVIRONMENTAL PROFILE. Fastest energy payback time in the industry. Carbon footprint that is 2.5X lower and a water footprint that is 3X lower than mono crystalline silicon panels on a life cycle basis. Global PV module recycling services available through First Solar or customer-selected third-party Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [First Solar Series 6 - 430 - 460 Watt (455W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-first-solar-series-6-430-460-watt-455w-")
30 | HiKu 400 425 Watt Monocrystalline PERC 425W | HiKu 400 425 Watt Monocrystalline PERC 425W.This is a Monocrystalline solarpanel with a nominal wattage power of 425 watts.The panel has 132.0cells and measures 1940 x 1048 x 35mm in cell dimensions.This is manufacture by Canadian Solar.The panel weighs 10.21kg and suitable for Commercial applications.key features:More power. Module power up to 425 W. Module efficiency up to 20.9 %. Lower LCOE & BOS cost. Comprehensive LID / LeTID mitigation technology, up to 50% lower degradation. Better shading tolerance. More reliable. Minimizes micro-crack impacts. Heavy snow load up to 5400 Pa, enhanced wind load up to 2400 PaNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [HiKu. 400 - 425 Watt. Monocrystalline PERC. (425W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-hiku-400-425-watt-monocrystalline-perc-425w-")
31 | Duomax BIFACIAL DUAL GLASS 60LAYOUT FRAMED MODULE 295 310 Watt 310W | Duomax BIFACIAL DUAL GLASS 60LAYOUT FRAMED MODULE 295 310 Watt 310W.This is a Monocrystalline solarpanel with a nominal wattage power of 310 watts.The panel has 60.0cells and measures 1685 x 1000 x 25mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 26.0kg and suitable for Residential applications.key features:High power output. Increased total power output through generation from front and back side. Backside power gain up to 25% depending on albedo. Unique J-box design and installation method to avoid shading on the back side. Low LCOE. Maximize limited space, savings in BOS and labour cost. Higher power generation from same installation footprint as standard modules. Wide application. Deployable for ground mounted utility, greenhouse and agricultural projects. Special application like sound barriers on expressways. Compatible with major tracker systems. Environmental conditions. Module coating resistant to sand, acid, and alkali. 30 year linear warranty,0.5% annual degradationNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Duomax BIFACIAL DUAL GLASS 60-LAYOUT FRAMED MODULE - 295 - 310 Watt (310W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-duomax-bifacial-dual-glass-60-layout-framed-module-295-310-watt-310w-")
32 | Tiger Neo Ntype 72HL49V 565585 Watt Mono Facial Module NType 580W | Tiger Neo Ntype 72HL49V 565585 Watt Mono Facial Module NType 580W.This is a N-type Monocrystalline solarpanel with a nominal wattage power of 580 watts.The panel has 144.0cells and measures 2278 x 1134 x 35mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 12.7kg and suitable for Commercial applications.key features:SMBB Technology. Better light trapping and current collection to improve module power output and reliability. Hot 2.0 Technology. The N-type module with Hot 2.0 technology has better reliability and lower LID/LETID. PID Resistance. Excellent Anti-PID performance guarantee via optimized mass-production process and materials control. Enhanced Mechanical Load. Certified to withstand: wind load (2400 Pascal) and snow load (5400 Pascal). Durability Against Extreme Environmental Conditions. High salt mist and ammonia resistance.Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tiger Neo N-type 72HL4-9V. 565-585 Watt. Mono Facial Module. N-Type. (580W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tiger-neo-n-type-72hl4-9v-565-585-watt-mono-facial-module-n-type-580w-")
33 | Mono 465W MBB HalfCell Module 440 465 Watt 460W | Mono 465W MBB HalfCell Module 440 465 Watt 460W.This is a Monocrystalline solarpanel with a nominal wattage power of 460 watts.The panel has 144.0cells and measures 2120 x 1052 x 40mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 25.0kg and suitable for Commercial applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 465W MBB Half-Cell Module - 440 - 465 Watt (460W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-465w-mbb-half-cell-module-440-465-watt-460w-")
34 | Mono 465W MBB HalfCell Module 440 465 Watt 445W | Mono 465W MBB HalfCell Module 440 465 Watt 445W.This is a Monocrystalline solarpanel with a nominal wattage power of 445 watts.The panel has 144.0cells and measures 2120 x 1052 x 40mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 25.0kg and suitable for Commercial applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 465W MBB Half-Cell Module - 440 - 465 Watt (445W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-465w-mbb-half-cell-module-440-465-watt-445w-")
35 | QPEAK DUO XLG10 SERIES 475 490 Watt 475W | QPEAK DUO XLG10 SERIES 475 490 Watt 475W.This is a Monocrystalline solarpanel with a nominal wattage power of 475 watts.The panel has 156.0cells and measures 2216 x 1045 x 35mm in cell dimensions.This is manufacture by Q Cells.The panel weighs 29.1kg and suitable for Commercial applications.key features:Bifacial energy yield gain of up to 20?% . Bifacial Q.ANTUM solar cells with zero gap cell layout make efficient use of light shining on the module rear-side for radically improved LCOE. . Low electricity generation costs . Q.ANTUM DUO Z combines cutting edge cell separation and innovative wiring with Q.ANTUM Technology for higher yield per surface area, lower BOS costs, higher power classes, and an efficiency rate of up to 21.2%. . A reliable investment . Double glass module design enables extended lifetime with 12-year product warranty and improved 30-year performance warranty1. . Enduring high performance . Long-term yield security with Anti LeTID Technology, Anti PID Technology2, Hot-Spot Protect. . Frame for versatile mounting options . High-tech aluminum alloy frame protects from damage, enables use of a wide range of mounting structures and is certified regarding IEC for high snow (5400?Pa) and wind loads (2400?Pa). . Innovative all-weather technology . Optimal yields, whatever the weather with excellent low-light and temperature behaviorNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Q.PEAK DUO XL-G10 SERIES - 475 - 490 Watt (475W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-q-peak-duo-xl-g10-series-475-490-watt-475w-")
36 | Vertex BACKSHEET MONOCRYSTALLINE MODULE 380 405 Watt 380W | Vertex BACKSHEET MONOCRYSTALLINE MODULE 380 405 Watt 380W.This is a Monocrystalline solarpanel with a nominal wattage power of 380 watts.The panel has 120.0cells and measures 1754 x 1096 x 30mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 21.0kg and suitable for Residential applications.key features:High value. More productivity from same roof size.. Outstanding visual appearance.. Leading 210mm cell technology.. Small in size, big on power. Small format module allow greater energy generation in limited space.. Up to 405W, 21.1% module eciency with high density interconnect technology. Multi-busbar technology for better light trapping eect, lower series resistance and improved current.. Reduce installation cost with higher power bin and eciency.. Boost performance in warm weather with lower temperature coecient (-0.34%) and operating temperature.. Universal solution for residential and C&I rooftops. Designed for compatibility with existing mainstream optimizers, inverters and mounting systems.. Perfect size and low weight makes handling and transportation easier and more cost-eective.. Diverse installation solutions for exibility in system deployment. High Reliability. 25 year product warranty.. 25 year performance warranty with lowest degradation.. Minimized micro-cracks with innovative non-destructive cutting technology.. Ensured PID resistance through cell process and module material control.. Mechanical performance up to +6000 Pa and-4000 Pa negative loadNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Vertex BACKSHEET MONOCRYSTALLINE MODULE - 380 - 405 Watt (380W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-vertex-backsheet-monocrystalline-module-380-405-watt-380w-")
37 | Mono 340W MBB HalfCell Module 320 340 Watt 325W | Mono 340W MBB HalfCell Module 320 340 Watt 325W.This is a Monocrystalline solarpanel with a nominal wattage power of 325 watts.The panel has 120.0cells and measures 1689 x 996 x 35mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 18.7kg and suitable for Residential applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 340W MBB Half-Cell Module - 320 - 340 Watt (325W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-340w-mbb-half-cell-module-320-340-watt-325w-")
38 | Mono 465W MBB Bifacial Monocrystalline PERC 440 465 Watt 455W | Mono 465W MBB Bifacial Monocrystalline PERC 440 465 Watt 455W.This is a Monocrystalline solarpanel with a nominal wattage power of 455 watts.The panel has 144.0cells and measures 2117 x 1052 x 35mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 27.3kg and suitable for Commercial applications.key features:Higher output power . More reliable, more stable power generation. Less shading effect . Lower temperature coefficientNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 465W MBB Bifacial Monocrystalline PERC - 440 - 465 Watt (455W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-465w-mbb-bifacial-monocrystalline-perc-440-465-watt-455w-")
39 | Jinko Tiger NeoJKM420N54HL4RB | Jinko Tiger NeoJKM420N54HL4RB.This is a N-type Monocrystalline solarpanel with a nominal wattage power of 420 watts.The panel has 108.0cells and measures 1762 x 1134 x 30mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 22.0kg and suitable for Commercial applications.key features:Jinko Tiger N-Type 420W Black Frame In 2022, Jinko developed and produced the first n-type tunnel oxide passivated contact (TOPCon) solar cells. These solar cells achieve higher efficiency than today's standard PERC technology. Beyond efficiency, n-type cells also promise improvements in long-term performance, bifaciality, and high-temperature performance that all add up to more energy, a lower levelized cost of electricity, and a faster return on investment. JinkoTiger N-Type 420W Specifications MORE POWER • SMBB Technology getter light trapping and current collection •TopCon Technology Innovation • Ultra-high power generation MORE RELIABLE • Hot 2.0 Technology for better reliability and lower LID/LETID • Durability against extreme environmental conditions • Certified to withstand: wind load (4000 Pascal) and snow load (6000 Pascal)To know more [Jinko Tiger Neo-JKM420N-54HL4R-B]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-jinko-solar-tiger-neo-420w")
40 | MULTIBUSBAR 120 HALFCELL BOB MODULE 310335 Watt 320W | MULTIBUSBAR 120 HALFCELL BOB MODULE 310335 Watt 320W.This is a Monocrystalline solarpanel with a nominal wattage power of 320 watts.The panel has 120.0cells and measures 1690 x 996 x 35mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 18.0kg and suitable for Residential applications.key features:High power output. Reduce BOS cost with high power bin and module efficiency. New cell string layout and split J-box location reduces the energy loss caused by inter-row shading. Lower resistance of half-cut cells and increased MBB (Multi Busbar) reflectance ensure higher power. High energy generation, low LCOE. Excellent 3rd party validated IAM and low light performance with cell process and module material optimization. Low Pmax temp coefficient (-0.36%) increases energy production. Better anti-shading performance and lower operating temperature. Outstanding visual appearance, easy to install. Designed for superior rooftop aesthetics. Thinner wires give a eye cacthing all black look. Safe and easy to transport, handle, and install. Certified to perform in highly challenging environments. High PID resistance through cell process and module material control. Resistant to salt, acid, sand, and ammonia. Over 30 in-house tests (UV, TC, HF etc). Certified to 5400 Pa positive load and 2400 Pa negative loadNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [MULTI-BUSBAR 120 HALF-CELL BOB MODULE 310-335 Watt (320W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-multi-busbar-120-half-cell-bob-module-310-335-watt-320w-")
41 | RSM408385MB405MB 385 405 Watt 390W | RSM408385MB405MB 385 405 Watt 390W.This is a Monocrystalline solarpanel with a nominal wattage power of 390 watts.The panel has 120.0cells and measures 1754 x 1096 x 30mm in cell dimensions.This is manufacture by Risen Energy.The panel weighs 21.0kg and suitable for Residential applications.key features:Global, Tier 1 bankable brand, with independently certified state-of-the-art automated manufacturing. Industry leading lowest thermal co-efficient of power. Industry leading 15 years product warranty. Excellent low irradiance performance. Excellent PID resistance. Positive power tolerance of 0~+3%. Dual stage 100% EL Inspection warranting defect-free product . Module Imp binning radically reduces string mismatch losses. Excellent wind load 2400Pa & snow load 5400Pa under certain installation method. Comprehensive product and system certification. IEC61215:2016; IEC61730-1/-2:2016. ISO 9001:2015 Quality Management System. ISO 14001:2015 Environmental Management System. ISO 45001:2018 Occupational Health and Safety. Management SystemNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [RSM40-8-385MB-405MB - 385 - 405 Watt (390W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-rsm40-8-385mb-405mb-385-405-watt-390w-")
42 | Eagle 72HM G5b 525545 Watt Half Cell Bifacial 545W | Eagle 72HM G5b 525545 Watt Half Cell Bifacial 545W.This is a Half-Cell solarpanel with a nominal wattage power of 545 watts.The panel has 144.0cells and measures 2274 x 1134 x 40mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 13.34kg and suitable for Commercial applications.key features:Multi Busbar Half Cell Technology. High efficiency half cut solar cells deliver high power in a small footprint. Bifacial Power Gain. Bifacial cell architecture allows backside bonus and more lifetime power yield. Light-Weight Design. Use of transparent backsheet allows for easy installation and lower BOS cost. Thick and Tough. Fire Type 1 rated module engineered with a thick frame, 3.2mm front side glass, and thick backsheet for added durability. Shade Tolerant. Twin array design allows continued performance even with shading by trees or debris. Protected Against All Environments. Certified to withstand humidity, heat, rain, marine environments, wind, hailstorms, and packed snow.Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Eagle 72HM G5b. 525-545 Watt. Half Cell Bifacial. (545W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-eagle-72hm-g5b-525-545-watt-half-cell-bifacial-545w-")
43 | Polycrystalline PV Module PENTA+ Classic 280 295 Watt 295W | Polycrystalline PV Module PENTA+ Classic 280 295 Watt 295W.This is a Polycrystalline solarpanel with a nominal wattage power of 295 watts.The panel has nancells and measures 1650 x 992 x 35mm in cell dimensions.This is manufacture by Astronergy.The panel weighs 18.4kg and suitable for Residential applications.key features:OUTPUT POSITIVE TOLERANCE. Guaranteed 0~+5W positive tolerance ensures power output reliability.. INNOVATIONAL 5-BUSBAR CELLS. Reduces the cell series resistance and internal stress, decreases the risk of mirco-crack and improves the module output. PID RESISTANCE. Excellent PID resistance at 96 hours (@85xC /85%) test, and also can be improved to meet higher standards for the particularly harsh environment.. EXCELLENT MECHANICAL LOAD CAPABILITY. Certified to withstand: snow load (6000 Pa) and wind load (3600 Pa).. THE-STATE-OF-THE-ART APPEARANCE. Full black designed for a better aesthetic appearance and building integration.. PASSED HAIL TEST. Certified to hail resistence: ice ball size (d=45mm) and ice ball velocity (v=30.7m/s).. LOWER TEMPERATURE COEFFICIENT. Improved temperature coefficient decreases power loss in the hightemperature applicationNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Polycrystalline PV Module - PENTA+ Classic - 280 - 295 Watt (295W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-polycrystalline-pv-module-penta-classic-280-295-watt-295w-")
44 | Tallmax FRAMED 144 HALFCELL MODULE 380 410 Watt 395W | Tallmax FRAMED 144 HALFCELL MODULE 380 410 Watt 395W.This is a Monocrystalline PERC solarpanel with a nominal wattage power of 395 watts.The panel has 144.0cells and measures 2015 x 996 x 35mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 22.0kg and suitable for Residential applications.key features:High power output. Reduce BOS cost with high power bin and 1500V system voltage. New cell string layout and split J-box location reduces the energy loss caused by inter-row shading. Lower resistance of half-cut cells ensures higher power. High energy generation, low LCOE. Excellent 3rd party validated IAM and low light performance with cell process and module material optimization. Integrated LRF(Light Redirecting Film) to enhance power. Low Pmax temp coefficient (-0.36%) increases energy production. Better anti-shading performance and lower operating temperature. Certified to perform in highly challenging environments. High PID resistance through cell process and module material control. Resistant to salt, acid, sand, and ammonia. Certified to 5400 Pa positive load and 2400 Pa negative load. Easy to install, wide application. Frame design enables compatibility with standard installation methods. Deployable for ground mounted and rooftop projects. Safe and easy to transport, handle, and installNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tallmax FRAMED 144 HALF-CELL MODULE - 380 - 410 Watt (395W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tallmax-framed-144-half-cell-module-380-410-watt-395w-")
45 | Mono 350W MBB Bifacial Monocrystalline PERC 330 350 Watt 330W | Mono 350W MBB Bifacial Monocrystalline PERC 330 350 Watt 330W.This is a Monocrystalline solarpanel with a nominal wattage power of 330 watts.The panel has 120.0cells and measures 1711 x 1005 x 30mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 22.0kg and suitable for Residential applications.key features:Higher output power . More reliable, more stable power generation. Less shading effect . Lower temperature coefficientNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 350W MBB Bifacial Monocrystalline PERC - 330 - 350 Watt (330W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-350w-mbb-bifacial-monocrystalline-perc-330-350-watt-330w-")
46 | LG NeON R Prime 60 Cell Monocrystalline 355 375 Watt 370W | LG NeON R Prime 60 Cell Monocrystalline 355 375 Watt 370W.This is a Monocrystalline solarpanel with a nominal wattage power of 370 watts.The panel has 60.0cells and measures 1700 x 1016 x 40mm in cell dimensions.This is manufacture by LG Solar.The panel weighs 17.5kg and suitable for Residential applications.key features:NeON R Prime is a powerful solar module that provides premium performance. The NeON R Prime incorporates a cell structure without electrodes on the front to decrease the possibility of shading and increase the potential for light absorption. Providing added value for the customer beyond efficiency, this module features a 25-year warranty, outstanding durability, solid performance in real-world conditions and aesthetic design suitable for roofsNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [LG NeON R Prime 60 Cell Monocrystalline - 355 - 375 Watt (370W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-lg-neon-r-prime-60-cell-monocrystalline-355-375-watt-370w-")
47 | RSM1328650M670M 650 670 Watt 655W | RSM1328650M670M 650 670 Watt 655W.This is a Monocrystalline solarpanel with a nominal wattage power of 655 watts.The panel has 132.0cells and measures 2384 x 1303 x 35mm in cell dimensions.This is manufacture by Risen Energy.The panel weighs 36.0kg and suitable for Commercial applications.key features:Global, Tier 1 bankable brand, with independently certified state-of-the-art automated manufacturing. Industry leading lowest thernal co-efficient of power. Industry leading 12 years product warranty. Excellent low irradiance performance. Excellent PID resistance. Positive power tolerance of 0~+3%. Dual stage 100% EL Inspection warranting defect-free product. Module Imp binning radically reduces string mismatch losses. Excellent wind load 2400Pa and snow load 5400Pa under certain installation method. Comprehensive product and system certification. IEC61215:2016; IEC61730-1/-2:2016;. ISO 9001:2015 Quality Management System. ISO 14001:2015 Environmental Management System. ISO 45001:2018 Occupational Health and Safety Management SystemNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [RSM132-8-650M-670M - 650 - 670 Watt (655W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-rsm132-8-650m-670m-650-670-watt-655w-")
48 | Duomax BIFACIAL DUAL GLASS 144 CELL MULTI BUSBAR MODULE 390415 Watt 400W | Duomax BIFACIAL DUAL GLASS 144 CELL MULTI BUSBAR MODULE 390415 Watt 400W.This is a Monocrystalline solarpanel with a nominal wattage power of 400 watts.The panel has 144.0cells and measures 2024 x 1002 x 30mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 26.0kg and suitable for Residential applications.key features:High power output. Up to 415W front power and 20.5% module efficiency with half-cut and MBB (Multi Busbar) technology enabling higher BOS savings. Lower resistance of half-cut cells ensures higher power. Certified to perform in highly challenging environments. High PID resistance through cell process and module material control. Resistant to salt, acid, sand, and ammonia. Proven to be reliable in high temperature and humidity areas. Certified to the best fire class A. Minimizes micro-crack and snail trails. Certified to 5400 Pa positive load and 2400 Pa negative load. High energy generation, low LCOE. Up to 25% additional power gain from back side, depending on the albedo. Excellent 3rd party validated IAM and low light performance with cell process and module material optimization. Low temp coefficient (-0.35%) and NMOT increases energy production. Better anti-shading performance and lower operating temperature. Higher power from same installation footprint as standard modules. Easy to install, wide application. Frame design enables compatibility with standard installation methods. Deployable for ground mounted utility, carports, and agricultural projects. Safe and easy to transport, handle, and install like normal framed modulesNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Duomax BIFACIAL DUAL GLASS 144 CELL MULTI BUSBAR MODULE - 390-415 Watt (400W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-duomax-bifacial-dual-glass-144-cell-multi-busbar-module-390-415-watt-400w-")
49 | LG NeON R Prime 60 Cell Monocrystalline 355 375 Watt 355W | LG NeON R Prime 60 Cell Monocrystalline 355 375 Watt 355W.This is a Monocrystalline solarpanel with a nominal wattage power of 355 watts.The panel has 60.0cells and measures 1700 x 1016 x 40mm in cell dimensions.This is manufacture by LG Solar.The panel weighs 17.5kg and suitable for Residential applications.key features:NeON R Prime is a powerful solar module that provides premium performance. The NeON R Prime incorporates a cell structure without electrodes on the front to decrease the possibility of shading and increase the potential for light absorption. Providing added value for the customer beyond efficiency, this module features a 25-year warranty, outstanding durability, solid performance in real-world conditions and aesthetic design suitable for roofsNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [LG NeON R Prime 60 Cell Monocrystalline - 355 - 375 Watt (355W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-lg-neon-r-prime-60-cell-monocrystalline-355-375-watt-355w-")
50 | Mono 465W MBB Bifacial Monocrystalline PERC 440 465 Watt 460W | Mono 465W MBB Bifacial Monocrystalline PERC 440 465 Watt 460W.This is a Monocrystalline solarpanel with a nominal wattage power of 460 watts.The panel has 144.0cells and measures 2117 x 1052 x 35mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 27.3kg and suitable for Commercial applications.key features:Higher output power . More reliable, more stable power generation. Less shading effect . Lower temperature coefficientNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 465W MBB Bifacial Monocrystalline PERC - 440 - 465 Watt (460W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-465w-mbb-bifacial-monocrystalline-perc-440-465-watt-460w-")
51 | HiHero 415 440 Watt High Efficiency Heterojunction Cell Technology 420W | HiHero 415 440 Watt High Efficiency Heterojunction Cell Technology 420W.This is a HJT cells solarpanel with a nominal wattage power of 420 watts.The panel has 108.0cells and measures 1722 x 1134 x 30mm in cell dimensions.This is manufacture by Canadian Solar.The panel weighs 10.43kg and suitable for Commercial applications.key features:More power. Module efficiency up to 22.5%, maximize the use of rooftop space. No B-O LID, excellent anti-LeTID & anti-PID. Leading temperature coefficient (Pmax): -0.26%/xC. increases energy yield in hot climate. Better shading tolerance. More reliable. Minimizes micro-crack impacts. Heavy snow load up to 5400 Pa, wind load up to 2400 Pa. performance. Low power degradation, high energy yield. Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [HiHero. 415 - 440 Watt. High Efficiency Heterojunction Cell Technology. (420W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-hihero-415-440-watt-high-efficiency-heterojunction-cell-technology-420w-")
52 | HiMO 4m 365 385 Watt 375W | HiMO 4m 365 385 Watt 375W.This is a nan solarpanel with a nominal wattage power of 375 watts.The panel has 120.0cells and measures 1755 x 1038 x 35mm in cell dimensions.This is manufacture by LONGi.The panel weighs 19.5kg and suitable for Residential applications.key features:Suitable for distributed projects. Advanced module technology delivers superior module efficiency. M6 Gallium-doped wafer / 9-busbar Half-cut Cell. Excellent outdoor power generation performance . High module quality ensures long-term reliabilityNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Hi-MO 4m - 365 - 385 Watt (375W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-hi-mo-4m-365-385-watt-375w-")
53 | DEEP BLUE 30 JAM54S30 395 420 Watt 410W | DEEP BLUE 30 JAM54S30 395 420 Watt 410W.This is a Monocrystalline solarpanel with a nominal wattage power of 410 watts.The panel has 108.0cells and measures 1722 x 1134 x 30mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 21.5kg and suitable for Residential applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [DEEP BLUE 3.0 - JAM54S30 - 395 - 420 Watt (410W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-deep-blue-3-0-jam54s30-395-420-watt-410w-")
54 | Duomax BIFACIAL DUAL GLASS 72LAYOUT MODULE 350 370 Watt 350W | Duomax BIFACIAL DUAL GLASS 72LAYOUT MODULE 350 370 Watt 350W.This is a Monocrystalline solarpanel with a nominal wattage power of 350 watts.The panel has 72.0cells and measures 2000 x 1000 x 25mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 31.0kg and suitable for Residential applications.key features:High power output. Increased total power output through generation from front and back side. Backside power gain up to 25%, depending on installation albedo*. Unique J-box design and installation method to avoid shading on the back side. Low LCOE. Maximize limited space, savings in BOS and labour cost. Higher power generation from same installation footprint as standard modules. 30 year linear warranty,0.5% annual degradation. Wide application. Deployable for ground mounted utility, greenhouse and agricultural projects. Special application like sound barriers on expressways. Compatible with major tracker systems. Environmental conditions. Module coating resistant to sand, acid, and alkali. High reliability for extreme weather installationsNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Duomax BIFACIAL DUAL GLASS 72-LAYOUT MODULE - 350 - 370 Watt (350W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-duomax-bifacial-dual-glass-72-layout-module-350-370-watt-350w-")
55 | Tiger Neo Ntype 72HL49V 565585 Watt Mono Facial Module NType 570W | Tiger Neo Ntype 72HL49V 565585 Watt Mono Facial Module NType 570W.This is a N-type Monocrystalline solarpanel with a nominal wattage power of 570 watts.The panel has 144.0cells and measures 2278 x 1134 x 35mm in cell dimensions.This is manufacture by Jinko Solar.The panel weighs 12.7kg and suitable for Commercial applications.key features:SMBB Technology. Better light trapping and current collection to improve module power output and reliability. Hot 2.0 Technology. The N-type module with Hot 2.0 technology has better reliability and lower LID/LETID. PID Resistance. Excellent Anti-PID performance guarantee via optimized mass-production process and materials control. Enhanced Mechanical Load. Certified to withstand: wind load (2400 Pascal) and snow load (5400 Pascal). Durability Against Extreme Environmental Conditions. High salt mist and ammonia resistance.Need assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Tiger Neo N-type 72HL4-9V. 565-585 Watt. Mono Facial Module. N-Type. (570W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-tiger-neo-n-type-72hl4-9v-565-585-watt-mono-facial-module-n-type-570w-")
56 | Polycrystalline high power solar modules PENTA+ 275 290 Watt 275W | Polycrystalline high power solar modules PENTA+ 275 290 Watt 275W.This is a Monocrystalline PERC solarpanel with a nominal wattage power of 275 watts.The panel has 60.0cells and measures 1654 x 989 x 40mm in cell dimensions.This is manufacture by Astronergy.The panel weighs 18.2kg and suitable for Residential applications.key features:With innovative 5-busbar PERC cell. Improved reliability. Increased efficiency through reduced series resistance. Homogenous dark appearance to meet highest optical standardsNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Polycrystalline high power solar modules - PENTA+ - 275 - 290 Watt (275W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-polycrystalline-high-power-solar-modules-penta-275-290-watt-275w-")
57 | Vertex BACKSHEET MONOCRYSTALLINE MODULE 380 405 Watt 400W | Vertex BACKSHEET MONOCRYSTALLINE MODULE 380 405 Watt 400W.This is a Monocrystalline solarpanel with a nominal wattage power of 400 watts.The panel has 120.0cells and measures 1754 x 1096 x 30mm in cell dimensions.This is manufacture by Trina Solar.The panel weighs 21.0kg and suitable for Residential applications.key features:High value. More productivity from same roof size.. Outstanding visual appearance.. Leading 210mm cell technology.. Small in size, big on power. Small format module allow greater energy generation in limited space.. Up to 405W, 21.1% module eciency with high density interconnect technology. Multi-busbar technology for better light trapping eect, lower series resistance and improved current.. Reduce installation cost with higher power bin and eciency.. Boost performance in warm weather with lower temperature coecient (-0.34%) and operating temperature.. Universal solution for residential and C&I rooftops. Designed for compatibility with existing mainstream optimizers, inverters and mounting systems.. Perfect size and low weight makes handling and transportation easier and more cost-eective.. Diverse installation solutions for exibility in system deployment. High Reliability. 25 year product warranty.. 25 year performance warranty with lowest degradation.. Minimized micro-cracks with innovative non-destructive cutting technology.. Ensured PID resistance through cell process and module material control.. Mechanical performance up to +6000 Pa and-4000 Pa negative loadNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Vertex BACKSHEET MONOCRYSTALLINE MODULE - 380 - 405 Watt (400W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-vertex-backsheet-monocrystalline-module-380-405-watt-400w-")
58 | Mono 390W MBB HalfCell Module 365390 Watt 375W | Mono 390W MBB HalfCell Module 365390 Watt 375W.This is a Monocrystalline solarpanel with a nominal wattage power of 375 watts.The panel has 120.0cells and measures 1769 x 1052 x 35mm in cell dimensions.This is manufacture by JA Solar.The panel weighs 20.5kg and suitable for Residential applications.key features:Higher output power . Lower LCOE . Less shading and lower resistive loss . Better mechanical loading toleranceNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [Mono 390W MBB Half-Cell Module - 365-390 Watt (375W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-mono-390w-mbb-half-cell-module-365-390-watt-375w-")
59 | BiHiKu6 520 550 Watt Bifacial Monocrystalline PERC 530W | BiHiKu6 520 550 Watt Bifacial Monocrystalline PERC 530W.This is a Monocrystalline solarpanel with a nominal wattage power of 530 watts.The panel has 144.0cells and measures 2266 x 1134 x 30mm in cell dimensions.This is manufacture by Canadian Solar.The panel weighs 14.56kg and suitable for Commercial applications.key features:More Power. Module power up to 550W. Module efficiency up to 21.4%. Up to 12.3% lower LCOE. Up to 5.2% lower system cost. Comprehensive LID / LeTID mitigation technology, up to 50% lower degradation. Better Shading Tolerance. More reliable. Minimizes micro-crack impacts. Heavy snow load up to 5400 Pa, wind load up to 2400 PaNeed assistance with a custom order? We can help you find the right solutions for your business. Request a quote or call us at 888.852.4783 and select option 4.To learn more about Inxeption Energy, visit energy.inxeption.com.To know more [BiHiKu6. 520 - 550 Watt. Bifacial Monocrystalline PERC. (530W)]("https://inxeptionmarketplace-crate.inxeption.io/purl/inxeptionenergymarketplace-bihiku6-520-550-watt-bifacial-monocrystalline-perc-530w-")